Air quality curriculum for a high school after-school program

## Introduction

This air quality curriculum is intended for an informal learning environment. This curriculum was used in an after-school program with high school students mentored by undergraduate students. The program focused on preparing students to conduct their own research on particulate matter using low-cost sensors, with guidance from university researchers.

The curriculum has three main components:

1. Materials for conducting particulate matter research using low-cost sensors

2. PowerPoint slides on air quality topics

3. Experiential learning activities

Components 1 and 3 are included in this word document, while the PowerPoint slides are in a separate file. The material here uses the Purple Air and Dylos monitors, although this can easily be adapted for other low-cost PM sensors.

Table of Contents

Introduction	1

Purple Air Sensor Standard Operating Procedures	3

Proposed site location checklist	5

Siting guide - indoors	6

Siting guide - outdoors	7

Log sheet – equipment deployment	8

Site diagram - outdoor	9

Site diagram - indoor	10

Indoor air monitoring site information	11

Air quality log	12

Poster template	13

Example project worksheet	14

Example steps for data analysis	16

Light scattering activity	18

Youth Participatory Action Research process	20

Debate: burn bans and wood stove changeouts	22

AQI colors on graphs of PM data	26

Field trip to EPA Regional Office	28

Weather inversion activity	29

Combustion and molecules	31

Community poster session	33

## Purple Air Sensor Standard Operating Procedures

Background

The procedures in this document are intended to provide instructions for installing the Purple Air sensors and downloading data. This SOP does not cover the Purple Air sensor registration process.

NOTE: Be aware that “drift” may occur because of the dust that may settle inside the device. A maintenance schedule will be necessary if the sensors are set out for long periods.

Supplies

- Purple Air dual laser sensor with micro SD card (item # PA II-SD)

- MicroUSB connector

- 5V 2A USB outdoor power supply

- 17-foot power cable

- Zip ties

- Tweezers

- Pen

- Micro-SD card reader

Installing the sensors

- Select a location for the sensor by following the tips below.

  - Allow for air flow to flow freely inside the Purple Air enclosure while protecting the electronics from weather conditions.

  - Place away from vents.

  - Requires access to electrical power.

  - If possible, keep it out of direct sunlight.

- Double check the micro-SD is firmly inside the electronics.

- Plug the power cable into the electronics.

- Attach the Purple Air sensor using its aluminum bracket and Zip ties. Another option is to hang the Purple Air sensor.

- Confirm that the Purple Air sensor is securely attached.

- Mount the power supply alongside the Purple Air sensor. Make sure that it will not be submersed in water or covered by snow.

- Plug the Purple Air sensor to the electrical power outlet. The sensor should start recording. Confirm that the sensor is writing to the SD card by looking for:

  - A red glow inside of the enclosure AND

  - A blue light that flashes about once every 60-90 seconds. When the device is first plugged in, there may be several blue light flashes – if the blue light flashes continue frequently instead of switching to every 60-90 seconds, the device is not working properly. Try unplugging it, double check that the micro SD card is fully inserted, and plug it in again.

Downloading data

- Unplug the Purple Air sensor from the power outlet.

- Use tweezer to carefully remove the SD card from inside the enclosure. It may be helpful to use a pen to release the SD card from the socket before removing with tweezers.

- Place the micro SD card into a card reader.

- Download and save the data by copying the files onto your computer or network. Do not delete or modify files on the SD card.

- Use tweezers to replace the SD card into the socket. The side of the SD card with the metal showing should face the inside of the enclosure. It may be helpful to use a pen to secure the SD card in the socket.

## Proposed site location checklist

This sheet is to fill out when you are looking at a site that you are considering for an air monitoring site.

Street address (or Lat/Long):____________________________________________________________

Site contact information:________________________________________________________________

Type of location:

- Single family residential

- Multi-family unit

- Commercial

- Government

Possible monitor locations:

- Ground level

- Roof top

- Both

- Other:______________

- Unknown

Is there access to an outside power outlet?

- Yes

- No

- Unknown

Number of floors of building: ___

Ground cover of the proposed location:

- Paved

- Grass

- Unpaved dirt

- Unknown

Are there trees overhead?

- Yes

- No

- Unknown

Location of overhead trees:

- <59 feet

- >60 feet

- Unknown

Are there any unpaved roads within 160 ft?

- Yes

- No

- Unknown

Are there any busy streets within 300 ft?

- Yes

- No

- Unknown

Is agricultural burning typical within 160 ft?

- Yes

- No

- Unknown

Are there any air pollution sources within 160 ft?

- Yes

- No

- Unknown

List any air pollution sources within 160 ft:_________________________________________________

___________________________________________________________________________________

______________________________________________________________________________________________________________________________________________________________________

## Siting guide - indoors

Room Choice

In general, the monitor should be placed where people tend to spend more time (i.e. the main living area of the home, a classroom, a workspace) but placement will depend on the study design. For example, if the study is focused more on a particular source and less on people’s exposure, it might be more appropriate to place the monitor closer to the potential source.

Positioning

The monitor should be located on an elevated surface or hanging, not on the floor of the room.

- The ideal height for the monitor is the approximate height of a person’s head when in a sitting position.

- The monitor should be in the common area of the room, however not in a site that becomes easily cluttered or could be disturbed.

- Ideal places to put the monitor – near/on end tables or shelves used for storage or display of stationary objects, such as lamps, photos, décor, books, television, or audio equipment.

- Places that do not work well – coffee tables, “working” tables or desks, utilized dining tables, or surfaces in rooms that are not often occupied.

- Make sure that area around the monitor is not obstructed so that air can flow freely through the sensors.

The monitor requires constant connection to power, so it must be within reach of a power outlet.

- Be cognizant of the placement of the power cord in relation to common walking paths in the room. Do not create a tripping hazard with the power supply cord or an extension cord. For this reason, it is not recommended to place the monitor on a surface in the center of the room.

- Do not daisy-chain extension cords or power cords.

Ensure each sensor on the monitor is open to the air in the room.

- Avoid placing objects directly next to the monitor as this could prevent proper air flow.

- The monitor must remain top side up.

## Siting guide - outdoors

Outdoor site ideal characteristics

- Monitors should be hanging or sitting on a large flat space elevated at least 1 m but no more than 14 m above ground level. The space available for samplers should be at least 5 m distant and upwind (most common wind direction) from building exhausts and intakes and at least 2 m from walls or parapets that might influence air flow.

- Buildings housing large emitters, such as coal-, waste-, or oil-burning boilers, furnaces or incinerators, should be avoided, unless the study specifically seeks to sample these emissions.

- Access to the sampling location should be secured, preferably by fencing or elevation above ground level. Access should be controlled by a locked door, gate, or ladder with documentation of site visitations and the purposes of those visits.

- Sampler inlets should be sufficiently distant (>10 m) from public access to preclude contamination from reaching them in sufficient quantities to bias samples.

- Large nearby buildings and trees extending above the height of the monitor may present barriers or deposition surfaces. Certain trees may also be sources of PM in the form of detritus, pollen, or insect parts. These can be avoided by locating samplers away from directly underneath trees or beside buildings or other obstacles.

## Log sheet – equipment deployment

This sheet is to fill out when you go with your students to help them set up the monitor and whenever data is downloaded.

Outdoor locations must be secure. For more information about how to choose indoor or outdoor locations for the monitors, see the siting guide.

Participant or Site Name:

| Start date, time: |  | End date, time: |
| --- | --- | --- |
| EnvironMentor: |  | Site contact info (if applicable): |
| Air Monitor ID: |  |  |
| Location: |  |  |
| Monitor was placed on the ground level [ ] or at the _______ floor. |  |  |
| Did you see any of the following: - Dirt or gravel road/driveway - Gas grill/BBQ/propane tank - Firepit, charcoal grill, wood smoker - Smoking area - Woodworking/construction/other dust source - Engines/home engine workshop - Exhaust pipe or vent from home/building |  |  |
| Site check list: Outlet on a switch? Label on box? Unit stabilized? Data upload ok? Photos taken? SD card in place? Power light on? Writing to SD card? | Yes No N/A Yes No N/A Yes No N/A Yes No N/A Yes No N/A Yes No N/A Yes No N/A Yes No N/A |  |

## Site diagram - outdoor

Draw a diagram of and describe in words where the OUTDOOR air monitor was placed in relationship to the house, street, driveway, garage, trees, potential dust sources, potential air pollution sources, vents, etc.

Notes:_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

## Site diagram - indoor

Draw a diagram of and describe in words where the INDOOR air monitor was placed in relationship to the wood stove, nearby walls, doors, windows, vents, furniture, potential air pollution sources, etc.

Notes:_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

## Indoor air monitoring site information

This sheet is to fill out when you go with your students to help them set up the monitor indoors. This sheet is asking about aspects of the site that might impact indoor air quality. Keep in mind that some of these questions might seem invasive. Only ask questions that you feel comfortable asking.

Site ID:_____________________________         Date:____________________________

Your name or initials:_______________________________________________________

1. Please describe any wood burning appliance:

- There is no wood burning appliance

Type (fireplace, stove):___________________

Age or year installed:_____________________

Is it EPA certified? Yes   No   Don’t know

Is it a catalytic stove? Yes   No   Don’t know

Primary fuel (wood, coal, pellet):____________

Is wood usually:

- Completely dry

- Not completely dry

- Damp

Is there a damper present? Yes   No   Don’t know

Type of venting (stovepipe, chimney):________

2. Please describe the home/building:

Exterior material (brick, wood):_____________

Number of stories:_______________________

Age or year built:________________________

Is there a basement? Yes   No   Don’t know

Approximate square footage:_______________

How many separate residences are in the building?___

Which best describes this building?

- A mobile home

- A 1-family detached house

- A one-family attached house

- A building with 2 or more apartments

- Other:______________________________

3. Please list heating sources:

Primary heating source:_______________________

Secondary heating source(s):__________________

4. Please list floor coverings (wall-to-wall carpet, rug, wood, vinyl):

Main living area:____________________________

Bedrooms:________________________________

Kitchen:__________________________________

5. Please list number and type of pets:

Indoor pet(s):_____________________________

Outdoor pet(s):____________________________

## Air quality log

This sheet is to fill out once or twice per day while air monitors are running indoors. Either the person hosting the air monitor can fill this out, or someone else can call or visit to fill out this log sheet together.

Date:_____________________   Time:___________________

Is the monitor still plugged in?

Do you see a red glow inside of the monitor?

Do you see a blue light flash once every 60-90 seconds inside of the monitor?

Inside of the house:

Did you smell wood smoke inside?

None   Low   Medium   High

Was any food fried in the house?   Yes   No

Was a wood stove used?   Yes   No

If yes, what type of fuel was used?

- Wood:  Yes   No

  - If wood was used, was it:   Completely dry

Not completely dry

Damp

  - What type of wood was used? __________________

- Paper:   Yes   No

- Trash:   Yes   No

- Pellet:   Yes   No

- Other:   Yes   No

  - If you checked “Other” what was used? ___________________

Outside of the house:

Did you notice a smudge pot/orchard heater in use nearby?   Yes   No

Did you smell wood smoke outside?

None   Low   Medium   High

Did you notice smoke or burning outside?

Yes   No

If yes, describe:_______________________

____________________________________

____________________________________

Room with the air monitor:

Did anyone smoke inside the room today?

Yes   No

Were the windows of this room open at all today?   Yes   No

Were fans running in this room today?

Yes   No

Did anyone vacuum in this room today?

Yes   No

Did anyone do any housecleaning in this room today?   Yes   No

Did anyone light incense or candles in this room today?   Yes   No

Did anyone use air fresheners in this room today?   Yes   No

## Poster template

## Example project worksheet

Background: This worksheet walks through different questions to help students in thinking through information that would go in different sections of the poster. This example is about comparing indoor air pollution in different spaces within the school using a Dylos monitor.

Project 5 involves comparing air monitoring data from Dylos01, Dylos03, and Dylos09 (three different areas in the school) over the same time period.

Column A in the Project 5 spreadsheet has the date and time. Column B in the spreadsheet has data from Dylos01, column C in the spreadsheet has data from Dylos03, and column D in the spreadsheet has data from Dylos09. The data are showing the number of PM2.5 particles per 0.01 cubic feet of air.

- Why is this research project important to you? Why do you want to learn more about the air quality in your school?

- Do you think that the data from the three Dylos monitors will have similar trends over time? Different trends? Why or why not? What is different between the three rooms that might impact air particles?

- Create a line chart (plot) of each of the sets of data over time using three different colors. Save the graph that you make. Do the three datasets go up and down together? Are two of them closer to each other, or are they all equally different?

- What does your answer to question 3 say about the data captured by the three air monitors? Does it look like the concentration of air particles was similar between the three rooms, or different? Why do you think that is? Are you surprised by the results? Why or why not? Don’t forget to refer to your log sheets!

- Why is this research important? If you could continue your project, what else would you want to look at?

Filling out the poster:

Introduction

This section should include your:

- Problem Statement and Research Question (your answer to question 1)

- Hypothesis (your answer to question 2)

Methods

This section should include your:

- Experimental Procedure (Describe how and where exactly Dylos01, Dylos03, and Dylos09 were set up. Include a picture of your log sheets. Describe how you made the plot in question 3.)

- Map of your study site location (include here the diagrams showing where Dylos01, Dylos03, and Dylos09 were placed)

Results

- What did you find in your data? (your answer to question 3)

- Include a picture of your graph here.

Discussion

- Why do you think the results came out the way they did? (your answer to question 4)

Conclusion

- Why is this research important? If you could continue your project, what else would you want to look at? (your answer to question 5)

## Example steps for data analysis

Background: This example worksheet walks through different analysis steps for exploring how variation in air pollution between rooms might change over the course of a day.

- Copy the csv file WS.csv

- Save as an excel workbook

- Plot the PM2.5 in each location over time. This can be done by inserting a scatter plot and then clicking “select data” to add each series to the chart.

- Add a column showing the standard deviation between the rooms at each hour. This allows us to identify times with the greatest differences between rooms.

- Identify the hours with the highest standard deviation. This can be done by sorting the data by standard deviation. Focus on the hours with standard deviation > 1.5.

  - Do these hours happen on certain days? Certain times of day?

  - Which rooms have the highest PM2.5 during these hours?

- In order to look at standard deviation between different hours of the day, boxplots are useful. Boxplots show the median (bolded line), the 25th percentile (bottom of the box), the 75th percentile (top of the box), and an idea of the range of high and low data (lines at the top and bottom, called whiskers). Sometimes boxplots also show the minimum and maximum values as dots. Here’s an example:

In excel, plot the hour vs. the standard deviation (you can do this by highlighting the data in those two columns, and then selecting insert scatter plot – make sure that the hour is on the x-axis). Compare the plot you made in excel to the boxplot. Note that the excel plot contains the minimum and maximum values, while the boxplot does not.

- Calculate the mean standard deviation at night. You need to define nighttime vs. daytime for this project. This can be done by using the excel formula “AVERAGE” and selecting all of the standard deviation values for the hours you decide are nighttime hours.

- Calculate the mean standard deviation during the day. You need to define nighttime vs. daytime for this project. This can be done by using the excel formula “AVERAGE” and selecting all of the standard deviation values for the hours you decide are daytime hours.

- For each room, identify the ten hours with highest PM2.5 values. This can be done by sorting the data by PM2.5 for each room, one at a time, and copying these rows into another sheet for reference.

  - Are these peak hours the same in each location? Or are they at different times depending on location?

  - Are the peaks happening during certain hours? Certain days?

## Light scattering activity

Laser-based particle counter activity idea by Amanda Virbitsky

Background

This activity provides an idea of how laser-based particle counters detect particle counts and sizes. The particle counters detect how light is scattered by particles in the air.

Materials

- Balls of several different sizes

- String

- Something to hang the balls from

- Spray bottle

- Water

- Food coloring

- Absorbent white material

- Something to hang up the white material

Activity

- Hang up three different sized Styrofoam balls (or several different sized balls, such as an 8 ball, golf ball, tennis ball, etc.) from a stand, a pole, a beam on the ceiling, or something else so that they are suspended, with a weight attached to the bottom of the string to prevent swinging.

- Hang absorbent white material behind the balls (i.e. poster paper). This material needs to cover a space larger than the space behind the balls. This material needs to be able to absorb water but show the color of the water. This material should also protect the wall behind it from the water.

- Fill a spray bottle halfway with water then put in several drops of food coloring until the water looks dark. Spray the water at the balls towards the white material enough times to allow the background material to absorb but not drip. You should be able to see a space left dry for each ball where they blocked the water.

Connection to curriculum

In this activity, the water from the spray bottle symbolizes the light from the laser beam, and the balls symbolize different sized particles. As air moves past the light beam, light is scattered off the particles in different ways that make it possible for the air monitor to detect the number and size of different particles. This is symbolized by the white material, which should show spaces where the water hits and spaces where the water doesn’t hit due to the size and number of balls.

## Youth Participatory Action Research process

This activity is from the YPAR Hub (http://yparhub.berkeley.edu/) and can be found here: http://yparhub.berkeley.edu/get-started-lessons/introduction-to-participatory-action-research/

Adapted from Rebecca G. Kaplan, CU Engage, University of Colorado

Activity

Create PAR (Participatory Action Research) process cards by writing or printing the following phrases on separate pieces of paper:

- Form a strong team

- Reflect on prior experiences

- Develop critical perspectives on “what could be”

- Figure out what you know and don’t know

- Identify research questions

- Meet with key players

- Design research protocols

- Collect data

- Analyze data

- Decide key findings from data

- Discuss implications of data – “so what?”

- Map who has power in relation to the problem

- Select actions steps – “now what?”

- Engage in dialogue with adult personnel about your findings

- Evaluate whether you achieved your goals

Pass out PAR process cards to each participant. Designate a part of the room that will be the beginning of the process, and show how the process will form a circle organized clockwise. Have participants silently arrange themselves in the order that makes most sense to them. Participants can communicate with hand motions but not words. Stop everyone where they are after about 5 minutes.

Discuss the steps and their order. Start with the person standing at the beginning of the process. In order, ask each person to read their step and describe why they put themselves where they did. Ask the group if anyone disagrees or would want to put that step somewhere else. Discuss as a group. When the group suggests additional steps or repeating steps, ask a participant to write the step on a blank card and add it in. Participants may move themselves as the discussion illuminates places where moves make sense to the group.

Have everyone set their papers down in order, and have a volunteer type or write the list, so the group may come back to it at future meetings.

Reflect

Facilitation a discussion using the following reflection questions:

- What did you notice during the PAR process activity?

- What steps do you think might be the most new to you?

- What are you most excited or nervous about?

Summarize

Participatory Action Research sounds like a mouthful, but when we break down the term and look at assumptions and ideas that come up around each word within the term, we can begin to construct a shared definition of what PAR means to us. Similarly, the research process can feel daunting. As we arrange the steps in the process and discuss each one in relation to the rest, we can begin to see that as a group we already have intuition about how to go about the work.

## Debate: burn bans and wood stove changeouts

Thank you to Phil Swartzendruber, Puget Sound Clean Air Agency for sharing information on this case study.

Background

As part of the process of establishing recommendations and new programs for the Tacoma and Pierce County non-attainment area, Puget Sound Clean Air Agency convened a stakeholder group and held many meetings to hear from the public and gather comments.

Activity

Form 2 groups. Each group will receive a set of actual public comments made regarding this issue. One set of comments will be mainly in support of the new recommendations (burn bans, wood stove change-outs, and banning uncertified stoves) and one set of comments will be mainly against the new recommendations. Based on these comments and your own ideas, form an argument either supporting or opposing the new recommendations. Try to put yourselves in the places of the people who made these comments. What were they thinking about when they made these comments?

If there’s time, discuss at the end: What do you think are qualities of an effective public comment?

Comments supporting enforced burn bans and wood stove change-outs:

- “I know it's more expensive but I'd like to see more enforcement. I live in Old Town and there are times in the summer and winter when wood smoke is in the air.  It's bad enough going outside and having to breath it in, but somehow this also gets circulated inside my house, particularly when it gets really cold in the winter. I had neighbors in Puyallup who were oblivious to burn bans and used their wood stove every day, even though they had a furnace. My mother died from COPD so I want to keep as much pollution out of my lungs as possible.”

- “I support all efforts to improve air quality in University Place. My neighborhood is so smoky that I am unable to go for a walk nine months out of the year. I usually suffer from asthma only while home, because the air quality is so poor compared to the rest of the state. I'm so glad that you are doing something about our very serious problem. Please inspect all stoves and provide options for everyone -even renters. For those with very smoky fireplaces and stoves I support helping them to fuel switch or burn cleanly. There should be no option to continue causing illness to neighbors. Strict enforcement is needed in the evening too, because that is when people return from work and begin to burn. I do not like allowing people to use smoky stoves as their only source of heat because these stoves are not fairly distributed. One smoky stove is all it takes to pollute a large area and keep people indoors. That is unfair. I support removing all these stoves and replacing them, as indicated above.”

- “I believe the enforcement of current regulations is extremely lax.  In the City of Puyallup, there is no enforcement of the ban on burning of yard waste.  If you have installed a "recreational fire pit" on your property, it seems to be acceptable to burn yard waste in it.  That is the result in my neighborhood.  If air quality is to be improved, the answer like many problems is going to be multi-faceted.  Enforcement must be strengtened.  As far as I know there isn't even a telephone number to report violators, let alone an agency assigned to enforcement at the home owner level.”

- “Burn bans should include wood stoves. I guess an exeption could be made for homes with no other heat source. This should be addressed by a code change requiring new or remodeled homes to have an adequate furnace. "Certified" stoves are only as good as their maintenance. How can you enforce that? I like the idea of removing wood stoves at the sale of a house also. My wife has a lung problem and we have two wood burners in the neighborhood. Sometimes we have to shut up the house so she can breathe.”

- “My husband  has COPD; is on oxygen 24 hr pr day and I have asthma.  In the neighborhood where we live people burn wood & etc. throughout the Fall, Winter & Spring time of year.  We try to make our home as airtight as possible, but it is not totally possible.  We end up wheezing & coughing continuesly.  Sometimes our noses burn from the smoke.  Our lives are being cut short by the amount of smoke and particles in the air here.  We live on a limited income, so to move would be unthinkable.  We wish we could get the message accross to all our neighbors how much what they are burning is affecting not only us, but them as well, healthwise.  Not being able to get your air is a frightful thing.  We understand that most people who live around us are trying to cut their utilitiy costs and we are sympathatic to that fact.  But if there was a way to let them all know what really happens as a person ages and what is happening to us, we sure would be willing to help that cause.  So many days we are limited to inside our home, even when the weather permits us to be outside---because of the burning that is going on around us.”

Comments opposing enforced burn bans and wood stove change-outs:

- “Many homeowners can't tell if their woodstove is certified or not due to the labels not being accessible.  Even with a subsidy, replacing a woodstove is a huge expense that is not affordable to most families in my neighborhood.  You would be surprised how many families don't turn on their furnaces in winter and survive with just the heat from their stoves. The previous owners of my house were such a family.  Recently from Mexico, I'm told there were 9 people living here, where now there is 1, and that it was always cold because they were afraid to turn on the old furnace due to the high cost.  This is a poverty issue that requires sensitivity to the fact that many can't afford $150-250/mo electric bills. Many of these homes are owned by retired military who are on small pensions.  I only burn wood on a night when I'm in my living room watching TV, but many burn day and night for warmth.  After the 4-day power outage several years ago, I decided my next place would have a woodburning stove in case of another extended power outage. In case of a disastrous earthquake or volcanic eruption, or extended power failure, we need to maintain always the option of woodburning stoves.  Granted certified stoves are the best, but never eliminate stoves entirely.  Maybe provide electric subsidies in winter to encourage less usage of wood, but it is also an aesthetic experience one should not be denied to enjoy a warm fire.”

- “I think we already have too much government involvement in what we do.  Polution levels around big industry are being ignored...insufficient safeguards for offshore drilling...all over the place pollution that affects many more folks than some soot particles is being ignored.  I think you should turn your attention to that instead of the general public.  We're already being regulated to death.  Bottom line:  I will not support any candidate for office that supports more regulations for the general public.  That includes the incumbant.”

- “As a single parent that will have to heat my home with only a wood burning stove this winter, it would pose a great hardship to have a reduction in wood burning at this time.  The oil furnace I have in my home died mid winter last year, it was original to the house which is 65+ years old, I was laid off for six months of this year so it will be next summer before I am able to upgrade and weatherize my home. “

- “As a homeowner in a depressed economy I am sensitive to regulations that will cost me money. This is even more critical when the changes may not be necessary. Your web site says we may be breathing particles and there are links and studies but the links and studies are not cited. The area map that shows particulate counts has only one location that does not meet the federal standard and that is the city of Tacoma. I am not convinced the federal standards are needed.  The only way to get rid of this type of particulate matter in the air we breathe would be to eliminate all motor vehicles, all industry that produce them and all wood burning. Society could not continue to function under these conditions. Obviously this is not practical, but the question is where to draw the line. Our society will always produce these particulates and our bodies are designed to accommodate them to a point. At what stage is it acceptable to let the federal government turn our local society upside down - particularly in the entire county due to the higher numbers in one city - with restrictions and changes that will surely place the bulk of the financial burden on those who can afford it the least?”

## AQI colors on graphs of PM data

Background

This activity helps students understand the Air Quality Index color scheme and how to apply it to their data. This activity requires printouts of several example graphs of a time series of PM data from the school or a nearby location, and something to color with (crayons, colored pencils, markers).

Activity

1. Have the students go to the AirNow AQI calculator site: https://www.airnow.gov/aqi/aqi-calculator/

2. Click on the “Concentration to AQI” tab and select PM2.5

3. Enter a concentration found in the graph and click “Calculate”. The AQI color and category should come up.

Have the students try different concentrations with the goal of identifying the PM2.5 concentrations that define each category. The students should come up with a table that looks like this:

| AQI category | Color | PM2.5 concentration (ug/m3) |
| --- | --- | --- |
| Good | Green | <12 |
| Moderate | Yellow | >12 to <35.5 |
| Unhealthy for sensitive groups | Orange | >35.5 to <55.5 |
| Unhealthy | Red | >55.5 to <150.5 |
| Very unhealthy | Purple | >150.5 to <250.5 |
| Hazardous | Maroon | >250.5 |

4. Give each student a graph with the PM time series. Have the students refer to their tables to color in the parts of their graphs that correspond with the different AQI colors.

5. Discussion: How do the different graphs compare to each other? Which AQI category covered the most time? How often did the PM2.5 reach the moderate category? Unhealthy for sensitive groups?

## Field trip to EPA Regional Office

Thank you to India Young and Gretchen Stewart of EPA Region 10 for organizing this field trip

We had the great opportunity to take the students to the EPA Region 10 office in Seattle for a field trip. Consider what kinds of agencies or organizations near you working on issues related to environmental health might welcome students.

This was the outline for our field trip, which was four hours:

- Tour of the emergency response center

- Meet with the Regional Administrator and Senior Tribal Policy Advisor

- Learn about the Tribal Air Team

- Learn about a student-led school composting program

- Meet members of the dive team and look at diving supplies

- Learn about the school air quality flag program

- Learn about drinking water sampling for nitrates

- Participate in an environmental justice discussion and activity

Our goal was for students to learn about a wide array of environmental careers and to have the opportunity to share their research. Throughout the day, students shared with the EPA staff about their research projects.

## Weather inversion activity

This activity is adapted from Steve Spangler Science, and can be found here: https://www.stevespanglerscience.com/lab/experiments/colorful-convection-currents/

Background

Temperature inversions are common in many mountain valleys. Temperature inversions involve warm air higher up in the atmosphere trapping cool air underneath it, closer to the ground. When there are local sources of air pollution, those pollutants get trapped close to the ground within the cool air. This can cause a high concentration of air pollution until the inversion is disrupted. This activity demonstrates a temperature inversion using hot and cold water.

Materials

- Four empty plastic bottles (single serving juice or energy drink bottles work well)

- Masking tape or painters tape

- Pen or marker

- Hot water (hot tap water works well)

- Cold water

- Two different colors of food coloring (blue and yellow work well)

- Two plastic cards or some kind of small flat piece of plastic

Activity

- Completely fill two bottles with hot water and two bottles with cold water. Label the bottles “Hot” and “Cold”.

- Add a few drops of yellow food coloring to the hot water bottles and a few drops of blue food coloring to the cold water bottles.

- The next steps involve placing one of the hot water bottles on top of a cold water bottle, and one of the cold water bottles on top of a hot water bottle. Place one of the plastic cards over the top of the hot water bottle. Hold in place and quickly invert the bottle. Place the bottle upside-down on top of the cold water bottle with the plastic card in between them. Repeat this step, this time placing the cold water bottle on top of the hot water bottle.

- One pair at a time, hold the top bottles and carefully remove the plastic cards from between each pair of bottles. See what happens when the bottles of water are allowed to mix with the plastic cards removed. You may want to tape the bottles together to prevent spilling.

Connection to curriculum

When the cold water bottle is on top of the hot water bottle and the plastic card is removed, you should see the water immediately start to mix, eventually turning all of the water within the two bottles green as the yellow and blue water mix. This is because cold water is more dense than hot water, so the cold water sinks down and mixes with the hot water. In the photo below, you can see this starting to happen on the right side.

When the hot water bottle is on top of the cold water bottle and the plastic is removed, you should see very little mixing between the two bottles. This is because the less-dense hot water stays above the more-dense cold water. You can see this lack of mixing on the left side in the photo below. This illustrates what happens during an inversion, where cold air is trapped closer to the ground underneath warm air.

Photo of step 4 of the weather inversion activity.

## Combustion and molecules

Background

This activity provides a simplified explanation of what happens when wood burns completely. We show how a molecule of cellulose, when combusted with oxygen, transforms into carbon dioxide and water.

Materials

This activity uses velcro, popsicle sticks, and 3 different colors of material. The three different colors of material will represent carbon, oxygen, and hydrogen atoms. The popsicle sticks act as the molecular bonds between the atoms. Other materials could be used instead as long as each atom and molecular bonds are represented.

Activity

Start by creating a molecule representing cellulose (CH2O) and oxygen (O2). Show how when the bonds are broken (atoms removed from the popsicle sticks), they can rearrange into carbon dioxide (CO2) and water (H2O). See the photo below for more details:

Connection to curriculum

Explain how this is a simplified explanation, and that wood does not burn completely and is not completely made of cellulose molecules. That’s part of the reason that we end up with air pollutants from burning wood besides carbon dioxide and water.

## Community poster session

We organized a community event each year which included food, speakers, and tabling opportunities. During the event, the students presented their research in a poster session. Students stood by their posters for a portion of the event and community members visited each poster to learn about the research and ask questions.